## Observações
O perfil de uso de energia para Solar House é considerado iluminação de 17% e HVAC (Aquecimento, Ventilação e Ar Condicionado) 49%, para isso é contabilizado os valores propostos na tabela 9 do estudo 'An Emergy-based Approach to Evaluate the Effectiveness of Integrating IoT-based Sensing Systems into Smart Buildings', onde nos cenários são apresentadas as porcentagens de sensores empregados e suas respectivas economias nas UEV's.

## Calc. Cenários
1. Load profile for commercial buildings in the USA
Lighting | 17%
HVAC | 49%
others | 34% | EIA 2012
2. Load Profile for Solar House Building | [6 empty] | 3. Emergy of Motion Sensor vs Sensing System
Electricity emergy for 75 years | 11875500 | [7 empty] | Motion sensor (one lifecycle) |  |  |  | Motion sensor + Network (one lifecycle) in Sej
Electricity emergy for 1 years | 158340 | [5 empty] | Motion Sensor | 71820800000000 | 8977600000000 |  | Wireless motion sensor + Network | 1469945600000000 | 183743200000000
Annual Electricity for Lighting | 26917.8
Annual Electricity for HVAC | 77586.6
4. Emergy Ratios and Emergy Neutrality calculations for different Design Scenarios
| Savings |  | Total Annual savings | Lifecycle savings (10 years) | Emergy Payback Period (In Years) | Emergy Neutrality (EmN) | Annual energy Consumed | Lifecycle energy consumed | %REN | EIR | EYR | ELR | ESI
| Lighting | HVAC
Base Scenario | 0% | 0% | 0 | 0 |  |  | 158340 | 11875500 | 0.0055765 | 177.6083 | 1.0056 | 178.3239 | 0.0056393
Scenario 1 | 10% | 0% | 2691.78 | 26917.8 | 68260853412.9832 | 1.465e-11 | 155648.22 | 11673616.5 | 0.0055979 | 176.925 | 1.0057 | 177.6378 | 0.0056613
Scenario 2 | 35% | 0% | 9421.23 | 94212.3 | 19503100975.1381 | 5.1274e-11 | 148918.77 | 11168907.75 | 0.0056267 | 176.0139 | 1.0057 | 176.7231 | 0.0056907
Scenario 3 | 40% | 0% | 10767.12 | 107671.2 | 17065213353.2458 | 5.8599e-11 | 147572.88 | 11067966 | 0.0056412 | 175.5583 | 1.0057 | 176.2657 | 0.0057056
Scenario 4 | 0% | 10% | 7758.66 | 77586.6 | 23682336898.3819 | 4.2226e-11 | 150581.34 | 11293600.5 | 0.0056178 | 176.2952 | 1.0057 | 177.0056 | 0.0056816
Scenario 5 | 0% | 20% | 15517.32 | 155173.2 | 11841168449.191 | 8.4451e-11 | 142822.68 | 10711701 | 0.0056597 | 174.9822 | 1.0057 | 175.6872 | 0.0057245
Scenario 6 | 0% | 30% | 23275.98 | 232759.8 | 7894112299.4606 | 1.2668e-10 | 135064.02 | 10129801.5 | 0.0057023 | 173.6691 | 1.0058 | 174.3689 | 0.005768
Scenario 7 | 10% | 10% | 10450.44 | 104504.4 | 17582341030.6169 | 5.6875e-11 | 147889.56 | 11091717 | 0.0056395 | 175.6119 | 1.0057 | 176.3195 | 0.0057038
Scenario 8 | 35% | 20% | 24938.55 | 249385.5 | 7367838146.1633 | 1.3573e-10 | 133401.45 | 10005108.75 | 0.0056966 | 173.8433 | 1.0058 | 174.5438 | 0.0057622
Scenario 9 | 40% | 30% | 34043.1 | 340431 | 5397369804.7475 | 1.8528e-10 | 124296.9 | 9322267.5 | 0.0057548 | 172.0747 | 1.0058 | 172.7681 | 0.0058217
Sensor Integration Scenario | 21% | 0% | 5652.738 | 56527.38 | 32505168291.8968 | 3.0764e-11 | 152687.262 | 11451544.65 | 0.0056065 | 176.6516 | 1.0057 | 177.3634 | 0.0056701
Mean Value Scenario | 28.33% | 20% | 23144.03 | 231440.3 | 7939118640.9627 | 1.2596e-10 | 135195.97 | 10139697.75 | 0.0057255 | 172.959 | 1.0058 | 173.6559 | 0.0057918
% change Sensor Integration | [7 empty] | -3.57 | 0.5385 | -0.53864 | 0.0030321 | -0.53862 | 0.54459
% change (Best case) | [7 empty] | -21.5 | 3.1972 | -3.1156 | 0.018005 | -3.1156 | 3.2343
% change (Mean) | [7 empty] | -14.6167 | 2.6727 | -2.6177 | 0.01505 | -2.6177 | 2.7035
5. Annual Electricity Distribution for Solar House
kwh
Annual Electricity for Lighting | 425
Annual Electricity for HVAC | 1225

## Cenário Base
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 158340 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 367440 | 7.0918e+17
Yield (Y) |  |  | 486641 | 7.1317e+17

## Cenário 1
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 155648.22 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 364748.22 | 7.0918e+17
Yield (Y) |  |  | 483949.22 | 7.1317e+17

## Cenário 2
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 148918.77 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 358018.77 | 7.0918e+17
Yield (Y) |  |  | 477219.77 | 7.1317e+17

## Cenário 3
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 147572.88 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 356672.88 | 7.0918e+17
Yield (Y) |  |  | 475873.88 | 7.1317e+17

## Cenário 4
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 150581.34 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 359681.34 | 7.0918e+17
Yield (Y) |  |  | 478882.34 | 7.1317e+17

## Cenário 5
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 142822.68 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 351922.68 | 7.0918e+17
Yield (Y) |  |  | 471123.68 | 7.1317e+17

## Cenário 6
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 135064.02 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 344164.02 | 7.0918e+17
Yield (Y) |  |  | 463365.02 | 7.1317e+17

## Cenário 7
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 147889.56 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 356989.56 | 7.0918e+17
Yield (Y) |  |  | 476190.56 | 7.1317e+17

## Cenário 8
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 133401.45 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 342501.45 | 7.0918e+17
Yield (Y) |  |  | 461702.45 | 7.1317e+17

## Cenário 9
Item | Unit | Raw data (units) | Emergy/Unit (sej/unit) | Solar Emergy/Building lifetime
Renewable Input Subtotal [R]
Sunlight | J | 2971450500000 | 1 | 222858787500000
Rain (chemical) | J | 2.7655e+13 | 23500 | 2.0742e+15
Wind (kinetic) | J | 11814870412.1453 | 1900 | 1680000000000000
Renewable Input Subtotal [R] |  |  | 25401 | 3977017357488000
Non-renewable Local
Net topsoil loss | J | 212453330544 | 93800 | 1.5934e+13
Non-Renewable Input Subtotal [N] |  |  | 93800 | 1.5934e+13
Purchased Inputs [F]
Electricity | J | 1984833405000000 | 124296.9 | 1.07e+17
Electricity Generation by PV (1930 Kwh) | J | 6940000000 | 90800 | 47261400000000000
Water | J | 2.0141e+14 | 33100 | 15105627712500002
Material Transport | gal | 3442.24 | 85200 | 293000000
Construction Material (Except PV, Lighting, Furnishing & Sensors) | Kg | 9561.606 |  | 2.13e+17
Equipments (Sensing and Control) | kg | 26.754 |  | 5310000000000000
Equipments (Lighting) | $ | 2530 |  | 14100000000000000
Equipments (Furnishing) | $ | 2080 |  | 11600000000000000
Construction Material (PV) | m2 | 90.54 |  | 2.713e+17
Construction Activities | J |  |  | 24500000000000000
Purchased Input Subtotal [F] |  |  | 333396.9 | 7.0918e+17
Yield (Y) |  |  | 452597.9 | 7.1317e+17